## Results_0
MatchID | NAICS | name | state | input_Latitude | input_Longitude | input_PV_location | input_Site_electric_load | input_Site_roofspace | input_Site_landspace | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
KYV3WEnF | NA | NAVAL ORDINANCE STA | KY | 38.1709 | -85.7554 | both | 100000 | 962 | 283618284 | 19 | 29195 | 27825 | 0 | 0 | 664.299 | 72839 | 33.228 | 33.228 | 40.672 | 830.7 | 1016.8 | 0.18 | 17278.38 | 33311.59 | 17278.38 | 7283.91 | 1369.86 | 8653.77 | 0 | 27160.91 | 0.27 | 8253.41 | 115210.13
MNS6uoD4 | NA | 04701 KASOTA ASPHLT PLT | MN | 44.267 | -93.9468 | both | 100000 | 20 | 472255 | 18 | 28144 | 26824 | 0 | 0 | 577.966 | 73755 | 13.0516 | 13.0516 | 15.4628 | 326.29 | 386.57 | 0.16 | 16606.37 | 32016 | 16606.37 | 7375.46 | 1369.86 | 8745.32 | 0 | 26245.36 | 0.26 | 8085.32 | 115378.22

## Results_1
MatchID | NAICS | name | state | PV_size_ground | PV_year1_production_ground | PV_annual_energy_production_avg_ground | PV_energy_lcoe_ground | PV_energy_exported_ground | PV_size_roof | PV_year1_production_roof | PV_annual_energy_production_avg_roof | PV_energy_lcoe_roof | PV_energy_exported_roof | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
KYV3WEnF | NA | NAVAL ORDINANCE STA | KY | 19 | 29195 | 27825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72839 | 33.228 | 33.228 | 40.672 | 830.7 | 1016.8 | 0.18 | 17278.38 | 33311.59 | 17278.38 | 7283.91 | 1369.86 | 8653.77 | 0 | 27160.91 | 0.27 | 8253.41 | 115210.13
MNS6uoD4 | NA | 04701 KASOTA ASPHLT PLT | MN | 18 | 28144 | 26824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73755 | 13.0516 | 13.0516 | 15.4628 | 326.29 | 386.57 | 0.16 | 16606.37 | 32016 | 16606.37 | 7375.46 | 1369.86 | 8745.32 | 0 | 26245.36 | 0.26 | 8085.32 | 115378.22

## Results_2
MatchID | NAICS | name | state | input_Latitude | input_Longitude | input_roofsqft | input_landacres | input_annual_electric_load_kWh | input_PV_ground_location | input_PV_array_type_ground | input_PV_ground_gcr | input_PV_ground_tilt | input_PV_ground_power_density | PV_size_kw_ground | PV_year1_production_ground | PV_annual_energy_production_avg_ground | PV_energy_lcoe_ground | PV_energy_exported_ground | input_PV_roof_location | input_PV_array_type_roof | input_PV_roof_gcr | input_PV_roof_tilt | input_PV_roof_power_density | PV_size_kw_roof | PV_year1_production_roof | PV_annual_energy_production_avg_roof | PV_energy_lcoe_roof | PV_energy_exported_roof | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
KYV3WEnF | NA | NAVAL ORDINANCE STA | KY | 38.1709 | -85.7554 | 961.9856 | 17.318 | 100000 | ground | 2 | 0.28036 | 0 | 0.0042 | 19 | 29195 | 27825 | 0 | 0 | roof | 1 | 0.4 | 15 | 0.017 | 0 | 0 | 0 | 0 | 0 | 72839 | 33.228 | 33.228 | 40.672 | 830.7 | 1016.8 | 0.18 | 17278.38 | 33311.59 | 17278.38 | 7283.91 | 1369.86 | 8653.77 | 0 | 27160.91 | 0.27 | 8253.41 | 115210.13
MNS6uoD4 | NA | 04701 KASOTA ASPHLT PLT | MN | 44.267 | -93.9468 | 20.2986 | 0.0288 | 100000 | ground | 0 | 0.41857 | 29.567 | 0.0031 | 9 | 12746 | 12148 | 0 | 0 | roof | 1 | 0.4 | 15 | 0.017 | 0 | 449 | 428 | 0 | 0 | 87425 | 14.3372 | 14.3372 | 15.4628 | 358.43 | 386.57 | 0.07 | 8946.03 | 17247.36 | 8946.03 | 8742.47 | 1369.86 | 10112.33 | 0 | 12575.31 | 0.13 | 2658.04 | 120805.5